## Slide 1: ECG Classification

## Slide 2: Background
- Heartbeat shape and peaks
- Arrhythmia classification
- Example waveforms

## Slide 3: Heartbeat shape

## Slide 4: Arrhythmia classification
Classes:
  N : Normal beats
  S : Supraventricular ectopic beats
  V : Ventricular ectopic beats
  F : Fusion Beats
  Q : Unknown Beats

## Slide 5: Normal Beats

## Slide 6: Supraventricular Premature Beats

## Slide 7: Premature Ventricular Contraction

## Slide 8: Fusion Beats

## Slide 9: Unclassifiable Beats

## Slide 10: Classification work
Normalized dataset:
  CNN + MLP
  Picchi/valli + MLP
Original waveforms dataset:
  Picchi/Valli + MLP
  Major Peaks + MLP
Other tests:
  KNN classifier

## Slide 11: Normalized dataset
  Fixed length of 187 points
  Zero padding for shorter heartbeats
  Normalized amplitude 0-1
  Each heartbeat starts from the classification peak of the previous heartbeat

## Slide 12: Classic CNN+MLP
Convolution for feature extraction
MLP for classification

## Slide 13: Picchi/Valli + MLP
Select important points based on:
  Local max or min
  Amplitude difference from previous point
  Time difference from previous point

## Slide 14: Original waveforms dataset
Raw readings from the ECG machine
Each beat is classified by doctors on the R peak

## Slide 15: Picchi/Valli + MLP
Same as before but applied to original signal

## Slide 16: Major Peaks + MLP
Extract the P,Q,R,S,T wave peaks instead of random peaks and valleys
Why:
  These points are used as reference by doctors when reading ECGs
  They’re directly connected to the electrical activity of the heart
How:
  R peak : Pan-Tompkins algorithm (now we look at the annotation)
  Q/S peaks : local minimum close to R peak
  P/T peaks: phasor transform

## Slide 17: Major Peaks + MLP
We can try multiple combinations of points as features
We can extract other useful data:
  Average BPM
  Heartbeat variability

## Slide 18: Other
Comparison between CNN+MLP and CNN+KNN
  Classic training CNN+MLP
  Select last conv layer output as input for the KNN
N model | Features | CNN+MLP | CNN+KNN
Ref. | 33 | 0.880 | 
10 | 62 | 0.885 | 0.912
11 | 13 | 0.788 | 0.867
12 | 37 | 0.877 | 0.867
13 | 37 | 0.856 | 0.867
14 | 12 | 0.791 | 0.867
15 | 124 | 0.883 | 0.943
17 | 30 | 0.887 | 0.915
18 | 30 | 0.888 | 0.917
19 | 10 | 0.786 | 0.846
20 | 20 | 0.851 | 0.896

## Slide 19: Current results
Chart: Results
| 33 | 62 | 13 | 37 | 37 | 12 | 124 | 30 | 30 | 10 | 20 | 18 | 10 | 4 | 8 | 13 | 18 | 8 | 11 | 4 | 46 | 10 | 20 | 20 | 21 | 10 | 25 | 23 | 12 | 31 | 10 | 7
CNN+MLP (dense 30) | 0.885 | 0.788 | 0.877 | 0.856 | 0.791 | 0.883 | 0.887 | 0.888 | 0.786 | 0.851 | 0.835 | 0.301 | 0.483 | 0.452 | 0.33 | 0.767 | 0.604 | 0.842 | 0.656 | 0.886 | 0.872 | 0.847 | 0.88 | 0.814 | 0.833 | 0.892 | 0.792 | 0.769 | 0.896 | 0.77 | 0.767
CNN+KNN | 0.912 | 0.867 | 0.867 | 0.867 | 0.867 | 0.943 | 0.915 | 0.917 | 0.846 | 0.896 | 0.821 | 0.697 | 0.721 | 0.843 | 0.897 | 0.885 | 0.75 | 0.871 | 0.686 | 0.924 | 0.872 | 0.898 | 0.907 | 0.901 | 0.829 | 0.908 | 0.916 | 0.857 | 0.909 | 0.832 | 0.85
Ref. | 0.88
MJPK (single beat) | 0.497 | 0.612 | 0.526 | 0.488 | 0.509 | 0.516 | 0.549 | 0.568 | 0.518
MJPK (multi beat) | 0.605 | 0.621 | 0.556 | 0.791 | 0.582 | 0.512 | 0.545 | 0.801 | 0.559